Microscope Lab Procedure

Set Up:

- Clear everything off the workspace. No food or drinks are allowed.

- Carry the microscope with both hands over to a flat, dry surface. Hold the arm with one hand and the base with the other. Remove the dust cover. Plug in to an outlet.

- Rotate the coarse focus knob to lower the stage away from the lens.

- Turn the objective lens until the 4x (smallest) lens clicks into position. Always make sure the lens clicks when you change magnification.

- Place slide, facing up, on the stage with the specimen centered over the lens in the middle of the stage.

- While looking through the eyepiece, rotate the coarse focus knob until the specimen comes into focus. Move slide slightly and carefully if the specimen is not in the field of view.

- Adjust the fine focus knob until the specimen is in sharp focus.

- To change the magnification lens, rotate until larger lens clicks into place and repeat the coarse and fine focus knob steps.

Take Down:

- Rotate coarse knob to move stage to the lowest setting, away from the lens.

- Rotate the objective lens to the smallest setting (4x).

- Carefully remove the specimen slide and return it to its original location.

- Turn off the light switch. Roll up and secure the outlet cord. Place dust cover back on.

- Carry the microscope back to its original home with both hands. One hand on the base and the other on its arm.